## List1
Priloha 4
Seznam servisovaných HW a SW komponent
HARDWARE |  | Počet
PDPM277H | PDU APC Modular Remote Power Panel, 277kVA, 400A, 400V, 72 Pole, 300mm | 6
SY250K500DL PD | UPS APC Symmetra PX 250kW Scalable to 500kW with Left Mounted Maintenance Bypass and Distribution | 2
SY250K250DL PD | UPS APC Symmetra PX 250kW Scalable to 500kW with Left Mounted Maintenance Bypass and Distribution | 1
ACRCB01S | Klimatizace In Row RC Chilled Water, 200 240V 50/60 Hz, IEC 309 16 | 26
AP9470 | StruxureWare Data Center Expert Standard, centrální jednotka monitoringu | 1
AP9465 | StruxureWare Data Center Expert Basic, centrální jednotka monitoringu | 1
SOFTWARE
NBSV1000 | NetBotz Surveillance Base 15 Nodes, SW licence pro kamerový monitoring | 2
AP95100 | StruxureWare Data Center Expert; 100 Node License Only, SW licence pro monitoring 100 zařízení | 2
AP9S25 | Data Center Operation: Change 10 Rack License, SW pro správu procesů v rámci datového centra -provoz | 1
AP9710 | Data Center Operation: Capacity 10 Rack, SW pro plánování a optimální využití skutečné fyzické infrastruktury - využití kapacit | 5
AP9110 | Data Center Operation: Capacity 10 Rack, SW pro plánování a optimální využití skutečné fyzické infrastruktury - využití kapacit | 5
AP90010 | StruxureWare Data Center Operation 10 Rack License, SW licence pro evidenci zařízení v rámci 19" stojanů a jejich změny | 5
AP9135 | Data Center Operation: Energy Cost License, SW licence pro určení nákladů za spotřebu energií | 2